## Slide 1: Structural Heart Live Cases
Supported by:
Medtronic Inc.
Abbott Inc.
Bard Inc.
Cook Inc.

## Slide 2: Faculty Involved and Disclosures
Samin K. Sharma, MD, FACC, MSCAI
Speaker’s Bureau – BSC Inc
Annapoorna S. Kini, MD, FACC
Nothing to disclose
Sahil Khera, MD
Nothing to disclose
Gilbert Tang, MD, MSc, MBA, FACC
Physician proctor for Medtronic
Stamatios Lerakis, MD, PhD, FACC, FAHA
Nothing to disclose
Pedro Moreno, MD, FACC [Moderator]
Nothing to disclose
Cardiac Anesthesiologist
Rafael Honikman, MD

## Slide 3: Structural Heart Live Case # 49 : CD, 77 y/o M
Presentation: Worsening lightheadedness and dyspnea on exertion
PMH: HTN, HLD, Bicuspid AV s/p SAVR (25mm Mosaic) 2008, AF, prior stroke with left sided weakness, bladder cancer s/p resection (2018), stomach ca s/p partial gastrectomy (2010), prostate ca s/p brachy T (2007)
Medications: Atorvastatin, Warfarin, Metoprolol XL, Cholecalciferol
Labs: Hgb 12.0, PLT 208K, K 4.2, SCr 1.08
EKG (08/27/2022): NSR, PR 140ms, QRS 96ms
TTE (08/18/2022): Severe bio-prosthetic AV stenosis (PG/MG/AVA/PV: 67/42/0.7/4.1), mod-severe trans-valvular AR, mild MR/TR. LVEF 65%
TEE (07/20/2022): Severe trans-valvular AR (leaflet flail), severe AS
Cath: Non-obstructive CAD in 2008; cath to done pre-TAVR

## Slide 4: TTE
Prosthetic valve degeneration with severe AS and AR, no PVL

## Slide 5: TEE
SAVR (25mm Mosaic) structural valve degeneration with severe stenosis and trans-valvular AR, no PVL

## Slide 6
CTA: Aortic Annulus, LVOT
Aortic Annulus
Max: 22.0 mm
Min: 20.5 mm
Mean: 21.2 mm
Perimeter = 66.7 mm
Area = 353.2 mm2
LVOT
Max: 28.0 mm
Min: 19.8 mm
Mean: 23.9 mm
Perimeter = 24.5 mm
Area = 448.0 mm2

## Slide 7
CTA: STJ and SOV
Sino-tubular Junction
Max: 39.1 mm
Min: 33.9 mm
Mean: 36.5 mm
SOV height: 26.0mm
SOV
SOV Right: 35.4 mm
SOV Left: 38.4 mm
SOV Non: 35.7 mm

## Slide 8: CTA: STJ and Coronary Heights
SOV height: 26 mm
Left coronary height 15.4 mm
Right coronary height 16.9 mm

## Slide 9: CTA: Aorta, Aortic Arch

## Slide 10: CTA: Aorto-Iliac Bifurcation

## Slide 11: Mosaic 25mm Valve
Possible 26mm Evolut FX Positioning within 25mm Mosaic SAVR
Suggested ViV :26mm Evolut FX
Valve positioning Evolut FX 4th node just below eyelets on the stent post tips

## Slide 12
Presentation: 77 yo M with severe symptomatic AS/AR due to SAVR degeneration
TTE: Severe prosthetic AS/AR no PVL, EF 64%
STS risk mortality for redo SAVR: 1.9%
Course: Patient was evaluated by heart team and recommended TF valve-in-valve TAVR
Plan: TF ViV (TAV-in-SAV) 26mm Evolut FX via right percutaneous femoral arterial access valve in degenerated 25mm Mosaic SAVR valve with bio-prosthetic valve fracture (with 24mmTrue balloon) and Sentinel cerebral embolic protection device
Summary of Case

## Slide 13
Latest Issues in Transcatheter Structural Heart Interventions
Recent publications in the TAVR Field:
- ViV TAVR for degenerated SAV data
- ViV TAVR with balloon fracture
- HALT long-term outcomes
- Newer TAVR valves
- Sex differences on TAVR outcomes
- TAVR alignment and coronary access

## Slide 14
Balance of Factors Determining Strength of Valve Preference vs. Expected Remaining Years of Life
Oyetunji and Otto, Eur Heart J 2021;42:2920

## Slide 15
Valve-in-Valve TAVR vs Native Valve TAVR for AS
Tuzcu et al., J Am Coll Cardiol 2018;72:370

## Slide 16
PARTNER 2A ViV Registry: Transcatheter ViV Implantation 5-Year Outcomes
Hahn et al., J Am Coll Cardiol Intv 2022;15:698

## Slide 18
Bioprosthetic Surgical Valves
Dvir et al., Circ J 2015;79:695
Common Bioprosthetic Surgical Valves
Fluoroscopic Images of Common Stented Bioprosthetic Valves
Perimount Mosaic Mitroflow Carpentier-Edwards
Epic Trifecta Hancock II Freestyle

## Slide 19
Analysis of Post-Procedure Gradients After ViV Procedures According to Surgical Bioprosthesis Size
Dvir et al., Circ J 2015;79:695
Small (internal diameter <20 mm), Intermediate (≥20 mm and <23 mm) and Large (≥23 mm)

## Slide 20
ViV TAVR: Echocardiographic Outcomes
Tuzcu et al., J Am Coll Cardiol 2018;72:370

## Slide 21
Mean Gradients at Baseline and Discharge
ViV-TAVR by Transcatheter Heart Valve (THV) Type
Tuzcu et al., J Am Coll Cardiol 2018;72:370

## Slide 22
Summary of Bench Testing in High Pressure
Balloon Inflation to Fracture the Valve Frame of Surgical Tissue Valves
Allen et al., Ann Thorac Surg 2017;104:1501

## Slide 23
Bio-prosthetic Valve Fracture pre 20mm Sapien XT TAVR

## Slide 26
Ex Vivo Bench Testing Methodology
Sathananthan et al., J Am Coll Cardiol Intv 2019;12:65
Micro CT used to scan THVs
Micro CT image of Sapien 3 THV (arrows indicate measurement made at inflow, middle and outflow of valve)
ACURATE neo THV (arrows indicate measurements made at inflow, leaflet nadir, and leaflet coaptation level of the valve)
Pulse duplicator used for hydrodynamic testing
THV silicon holder
Mid-strut measurements of THV

## Slide 27
Ex Vivo Bench Study: Multimodality Imaging
Pre- and Post-BVF
Sathananthan et al., J Am Coll Cardiol Intv 2019;12:65

## Slide 28
Ex Vivo Bench Study: Hydrodynamic Function at Baseline Following VIV TAVR and With Sequential Post-Dilatation and BVF
Sathananthan et al., J Am Coll Cardiol Intv 2019;12:65

## Slide 29
Ex Vivo Bench Study: Pin-Wheeling Index (%)
Pre- and Post-Fracture
Sathananthan et al., J Am Coll Cardiol Intv 2019;12:65
Pin-wheeling, as defined by the International Standards Organization guideline for THV testing, refers to twisting of the leaflet redundancy.

## Slide 31
Balloon- Versus Self-Expanding Valve Systems for Treating Small Failed Surgical Aortic Bioprostheses:
The LYTEN Trial

## Slide 32
LYTEN Trial: Study Population Flowchart
Rodés-Cabau J, EuroPCR 2022
Valve-in-Valve TAVI with small SAV (<23mm) and randomized to either BEV or SEV
(n=102)
BEV Group
Patients randomized to receive a SAPIEN 3/ULTRA valve
(n=49)
SEV Group
Patients randomized to receive an Evolut R/PRO/PRO+ valve
(n=53)
Patients who received intervention as randomized
(n=46)
Patients who received intervention as randomized
(n=52)
Patients with echocardiographic measurements (corelab)
(n=45)
Patients with echocardiographic measurements (corelab)
(n=52)
3 patients did not undergo the
valve-in-valve TAVI procedure
(1 patient died before the procedure; 2 patients were treated medically)
1 patient did not undergo the
valve-in-valve TAVI procedure
(1 patient died before the procedure)
1 patient withdraw informed consent before the 30 days follow-up

## Slide 33
LYTEN Trial: Valve Hemodynamics Following ViV TAVR
with Balloon-Expandable and Self-Expanding Valve System
Rodés-Cabau et al., J Am Coll Cardiol 2022;80:681

## Slide 34
LYTEN Trial: Maximal/Mean Transvalvular Gradient, Mean Residual Gradient >20 mmHg at 30-Day F/U
Rodés-Cabau J, J Am Coll Cardiol 2022;80:681
There were no death or stroke in both groups

## Slide 35
LYTEN Trial: Invasive vs Echocardiographic Measurements
Echocardiographic measurements: 1 day post-procedure (n=55)
Rodés-Cabau J, J Am Coll Cardiol 2022;80:681

## Slide 36
LYTEN Trial: Invasive vs Echocardiographic
Measurements Overall and According to Valve Type
Rodés-Cabau et al., J Am Coll Cardiol 2022;80:681
Patients with Echo Examination During the ViV-TAVR Procedure (n=45)
Invasive Measurements During ViV-TAVR Procedures vs Echo Exam at Hosp D/C
at 1 day post-Procedure (n=55)

## Slide 38
Early HALT Study: A Flowchart of Study Enrollment
Hein et al., J Am Coll Cardiol Intv 2022;15:1113
TAVR Implantation
during May 2012 and Dec 2017
n=1606
post-TAVR CTA n=821
post-TAVR CTA n=804
Patients without HALT
n=689
Patients with HALT
n=115
Missing post-TAVR-CTA n=785 due to
denial of repeat CTA
renal failure
logistic reasons
severely reduced general state of health
17 patients on intermittent oral anticoagulation due to early HALT
Median interval between TAVR and CTA 5 days
Occurrence: 16.0%

## Slide 39
Early HALT Study: A Brief Study Flowchart and Main Findings
Hein et al., J Am Coll Cardiol Intv 2022;15:1113
Brief Study Flowchart
Main Findings for Mortality and SVD

## Slide 42
Summary Forest Plot of Major Bleeding, Need for Transfusion, and Vasc Access Complications in Women
vs Men at 30 Days After TAVR
Saad et al., J Am Coll Cardiol Intv 2018;11:24

## Slide 43
Summary Forest Plot of Stroke/TIA, MI, and CV Mortality
in Women vs Men at Long-Term F/U After TAVR
Saad et al., J Am Coll Cardiol Intv 2018;11:24

## Slide 46
Sex Difference in Anatomies and Outcomes Following TAVR in Bicuspid AS
He et al., J Am Coll Cardiol Intv 2022;15:1652

## Slide 49
ITAL-neo Registry: Similarities and Differences Between the ACURATE neo and ACURATE neo2 THV
Buono et al., J Am Coll Cardiol Intv 2022;15:1101

## Slide 50
ITAL-neo Registry: Lower Frequency of Moderate
or Greater Paravalvular AR with the ACURATE neo2
Buono et al., J Am Coll Cardiol Intv 2022;15:1101

## Slide 52
The Hydra CE Study: Safety and Clinical Performance
of Hydra Self-Expanding Transcatheter Aortic Valve
Aidietis et al., J Am Coll Cardiol Intv 2022;15;93
30-day Death = 7.0%
1-Yr Death = 14.6%

## Slide 54: MyVal – Balloon Expandable THV Design Concept
Hybrid Honeycomb Cell Design Concept
Open cells on upper half to ensure un-jailing of coronary ostia
Closed cells on lower half for high radial strength
External PET buffing to minimize para-valvular leaks
Bovine pericardium
Tri-leaflet valve
Internal PET sealing cuff for lower profile & puncture resistance
Nickel Cobalt alloy frame for high radial strength & RO
≈ 50%
Ø – 20 mm, 23 mm, 26 mm, 29 mm
≈ 50%
Frame height 17-20 mm
MyVal THV has been indigenously developed by Meril Life Sciences, Vapi, India
Cost 60% of the US valves

## Slide 56
Possible Impact of Commissural Alignment in TAVR
Tang et al., J Am Coll Cardiol Intv 2022;15:1497
Obtaining commissural alignment in TAVR can result:
  in easier coronary access
  better coronary artery flow/filling
  reduce the risk of mild central leak
  improve the function of the active outer sealing skirt
  keep the possibility open to perform bioprosthetic aortic scallop intentional laceration to prevent iatrogenic coronary obstruction (BASILICA) (leaflet laceration) in case of redo-TAVR
  reduce leaflet stress and strain, hence, may have a positive impact on valve durability

## Slide 57
Proposed Standardized Definitions from the
ALIGN-TAVR Consortium
Tang et al., J Am Coll Cardiol Intv 2022;15:1497
Proposed standardized definitions of AV cusp symmetry, coronary ostial eccentricity and commissural (mis) alignment to harmonize reporting in future literature and clinical trials in TAVR

## Slide 58
AV Cusps and Commissural Orientation to
Different CT-Derived Fluoroscopic Views
Tang et al., J Am Coll Cardiol Intv 2022;15:1497

## Slide 59
THV Fluoroscopic Markers Corresponding with
the THV Commissure(s)
Tang et al., J Am Coll Cardiol Intv 2022;15:1497

## Slide 60
Evolut Commissural Alignment Steps
Tang et al., J Am Coll Cardiol Intv 2022;15:1497
Three procedural steps in order to increase the chances of obtaining commissural alignment with the Evolut system

## Slide 61
ACURATE-neo2 Commissural Alignment Steps
Tang et al., J Am Coll Cardiol Intv 2022;15:1497
Four recommended procedural steps in order to obtain commissural alignment with the ACURATE-neo2 system

## Slide 62
Summary of Commissural Alignment in TAVR
Tang et al., J Am Coll Cardiol Intv 2022;15:1497

## Slide 64
Take Home Messages
Recent Publications in the TAVR Field
ViV TAVR including balloon valve fracture technique has established as an important procedure on intermediate to high risk SAV degeneration. SEV provides better hemodynamics and lower residual gradient compared to BEV especially in smaller surgical valves (<23mm). Long-term comparative efficacy data between 2 valve types are still awaited.
HALT noted post-TAVR is associated with higher valve degeneration and trend towards higher CVA without any effect on 5-year mortality. Women have higher short term complications post TAVR but similar or better longterm mortality compared to men
A series of newer TAVR valves are poised to flood the US market in next few years; giving us few choices AND will reduce the valve cost.
Every attempt should be made during the TAVR procedure the make TAVR and commissure alignments in order to improve valve performance, hemodynamics and future coronary access.

## Slide 65: Question # 1
Following are the true observations from ViV TAVR except:
  SEV has better hemodynamics vs BEV
  SEV has similar short term outcomes vs BEV
  Echocardiogram reports higher gradient then invasive data
  All SAV can be fractured
Correct answer: D

## Slide 66: Question # 2
Following statements is false regarding the TAVR outcomes in women vs men:
  All cause death seems to better in women then men
  Residual gradient is higher in women then men
  Major bleeding is lower in women then men
  Bicuspid valve anatomy is different in women vs men
Correct answer: C

## Slide 67: Question # 3
Following is the false statement regarding TAVR procedure data:
  A. HALT is associated with higher mortality at follow-up
  B. HALT is associated with higher valve degenertaion at follow-up
  C. HALT is more noted after BAV vs SEV
  D. HALT improves after routine use of OAC
Correct answer: A